[Type the company name]

Console Reference

[Type the document subtitle]

[Type the author name] [Pick the date]

Table of Contents

[Press ALT+A and F9 to update the TOC and other fields]

# Console Reference

Namespaces

Console
          , Console.Configurations
          , Console.Helpers

## Console Namespace

Classes

AblationEventArgs
          , AblationTimerEventArgs
          , Balloon
          , BloodDetector
          , BloodDetectorEventArgs
          , CalibrationComponentANDCPLDRegister
          , Catheter
          , CentralMicroControllerFlowAndPressureRegulator
          , CentralMicroControllerPID
          , ConnectionBox
          , ConsoleFiniteStateMachine
          , EcgEventArgs
          , FlowMeterEventArgs
          , FlowMeterOne
          , InflationEventArgs
          , InjectionFlow
          , InjectionPressure
          , LoadCell
          , LoadCellEventArgs
          , LoadCellOne
          , Machine
          , PatientMicroControllerBalloonPressureRegulator
          , PatientMicroControllerPID
          , PatientPressureTransducerOne
          , PatientPressureTransducerTwo
          , PressureSwitch
          , PressureSwitchEventArgs
          , PressureSwitchOne
          , PressureSwitchTwo
          , PressureTransducer
          , PressureTransducerEventArgs
          , PressureTransducerFour
          , PressureTransducerOne
          , PressureTransducerThree
          , PressureTransducerTwo
          , RegisterValuesEventArgs
          , SBCCANOneMessage
          , SBCCANTWOMessage
          , Tank
          , TemperatureSensorOne
          , ThermocoupleEventArgs
          , ThermocoupleOne

Interfaces

IBloodDetector
          , IFlowMeter
          , ILoadCell
          , IPID
          , IPressureSwitch
          , IPressureTransducer
          , IThermocouple

### AblationEventArgs Class

Represents the ablation event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.AblationEventArgs

| C# |  |
| --- | --- |
| public class AblationEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

AblationEventArgs

Properties

Compter
          , Temperature

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### AblationEventArgs Constructor

Creates ablation event  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public AblationEventArgs() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: AblationEventArgs

#### AblationEventArgs.Compter Property

Gets or sets the ablation compter
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int Compter {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: AblationEventArgs

#### AblationEventArgs.Temperature Property

Gets or sets the temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Temperature {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: AblationEventArgs

### AblationTimerEventArgs Class

Represents ablation timer event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.AblationTimerEventArgs

| C# |  |
| --- | --- |
| public class AblationTimerEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

AblationTimerEventArgs

Properties

Seconds

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### AblationTimerEventArgs Constructor

Creates ablation timer event class

| C# |  |
| --- | --- |
| public AblationTimerEventArgs( double timer ) |  |

Parameters

timer

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: AblationTimerEventArgs

#### AblationTimerEventArgs.Seconds Property

Gets or sets the Seconds
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Seconds {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: AblationTimerEventArgs

### Balloon Class

Represents  the balloon catheter

System.Object

Console.Balloon

| C# |  |
| --- | --- |
| public class Balloon |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

BalloonId
          , TargetBalloonFlow
          , TargetBalloonPressure

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### Balloon.BalloonId Property

Gets or sets the ballon ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int BalloonId {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Balloon

#### Balloon.TargetBalloonFlow Property

Gets or sets the target ballon flow
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetBalloonFlow {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Balloon

#### Balloon.TargetBalloonPressure Property

Gets or sets the ballon pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetBalloonPressure {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Balloon

### BloodDetector Class

Represents the blood detector

System.Object

Console.BloodDetector

| C# |  |
| --- | --- |
| public class BloodDetector : IBloodDetector |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### BloodDetector.ID Property

Gets or sets the blood detector
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IBloodDetector.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BloodDetector

### BloodDetectorEventArgs Class

Represents the  blood detector class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.BloodDetectorEventArgs

| C# |  |
| --- | --- |
| public class BloodDetectorEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

BloodDetectorEventArgs

Properties

BloodDetector

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### BloodDetectorEventArgs Constructor

Creates blood detector event class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public BloodDetectorEventArgs( IBloodDetector _iBloodDetector ) |  |

Parameters

_iBloodDetector

Blood detector

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BloodDetectorEventArgs

#### BloodDetectorEventArgs.BloodDetector Property

Gets or sets the blood detector
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public IBloodDetector BloodDetector {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BloodDetectorEventArgs

### CalibrationComponentANDCPLDRegister Class

Represents  the calibration components and  CPLD Registers

System.Object

Console.CalibrationComponentANDCPLDRegister

| C# |  |
| --- | --- |
| public class CalibrationComponentANDCPLDRegister |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

CPLDRegisterId
          , CalibrationComponentId
          , CanTwoHeartbeatStatus
          , HeartbeatStatus

#### CPLDRegisterId Enumeration

Solenoid valve fan enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| FAN | 512 |  |
| SV1 | 1 |  |
| SV10 | 1024 |  |
| SV11 | 2048 |  |
| SV2 | 2 |  |
| SV3 | 4 |  |
| SV4 | 8 |  |
| SV5 | 16 |  |
| SV6 | 32 |  |
| SV8 | 128 |  |
| SV9 | 256 |  |
| Sv7 | 64 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: CalibrationComponentANDCPLDRegister

#### CalibrationComponentId Enumeration

Calibration component Id enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| CMCU_Load_Cell | 2 |  |
| CMCU_Thermal_Couple | 1 |  |
| PMCU_Thermal_Couple_1 | 4 |  |
| PMCU_Thermal_Couple_2 | 8 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: CalibrationComponentANDCPLDRegister

#### CanTwoHeartbeatStatus Enumeration

Can bus two heart beat status
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| CONSOLE_IS_IN_ABLATION_STATE | 1 |  |
| VITAL_PARAMETERS | 2 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: CalibrationComponentANDCPLDRegister

#### HeartbeatStatus Enumeration

Heart beat status enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| AUTO_DEFLATION | 1024 |  |
| DEACTIVATE_FEATURES | 32768 |  |
| DIAPHRAGM_ESOPHAGUS_AUDIO_ALERTS | 4096 |  |
| FOOT_SWITCH | 16384 |  |
| GUI_In_Test_Mode | 8 |  |
| GUI_in_Maintenance_Mode | 2 |  |
| GUI_is_Ready | 1 |  |
| NOT_USED_128 | 128 |  |
| NOT_USED_16 | 16 |  |
| NOT_USED_32 | 32 |  |
| NOT_USED_64 | 64 |  |
| No_Error_Report_Mode | 4 |  |
| PID_MANUAL_MODE | 256 |  |
| PRESSURE_FLOW_MODE | 512 |  |
| SLOW_FAST_INFLATION | 2048 |  |
| SYSTEM_PURGE | 8192 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: CalibrationComponentANDCPLDRegister

### Catheter Class

Represents the catheter

System.Object

Console.Catheter

| C# |  |
| --- | --- |
| public class Catheter |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CatheterExpirationDay
          , CatheterExpirationMonth
          , CatheterExpirationYear
          , CatheterID
          , CatheterLastUseDay
          , CatheterLastUseHour
          , CatheterLastUseMonth
          , CatheterLastUseYear
          , CatheterLot
          , NumberOfInjections
          , SerialNumber

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### Catheter.CatheterExpirationDay Property

Gets or sets  the catheter expiration day
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterExpirationDay {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterExpirationMonth Property

Gets or sets  the catheter expiration month
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterExpirationMonth {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterExpirationYear Property

Gets or sets  the catheter expiration year
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterExpirationYear {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterID Property

Gets or sets the catheter ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterLastUseDay Property

Gets or sets  the catheter last use day
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterLastUseDay {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterLastUseHour Property

Gets or sets  the catheter last use hour
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterLastUseHour {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterLastUseMonth Property

Gets or sets  the catheter last use month
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterLastUseMonth {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterLastUseYear Property

Gets or sets  the catheter last use year
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterLastUseYear {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.CatheterLot Property

Get the catheter lot
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int CatheterLot {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.NumberOfInjections Property

Gets or sets  the catheter  number of injections
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int NumberOfInjections {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

#### Catheter.SerialNumber Property

Gets or sets  the catheter serial number
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int SerialNumber {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Catheter

### CentralMicroControllerFlowAndPressureRegulator Class

Represents  the central microController flow and pressure regulator

System.Object

Console.CentralMicroControllerFlowAndPressureRegulator

| C# |  |
| --- | --- |
| public class CentralMicroControllerFlowAndPressureRegulator |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

TargetInjectionFlow
          , TargetInjectionPressure

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### CentralMicroControllerFlowAndPressureRegulator.TargetInjectionFlow Property

Gets or sets  the target injection flow
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetInjectionFlow {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerFlowAndPressureRegulator

#### CentralMicroControllerFlowAndPressureRegulator.TargetInjectionPressure Property

Gets or sets target injection pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetInjectionPressure {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerFlowAndPressureRegulator

### CentralMicroControllerPID Class

Represents  the central micro controller PID

System.Object

Console.CentralMicroControllerPID

| C# |  |
| --- | --- |
| public class CentralMicroControllerPID : IPID |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

DGain
          , IGain
          , Offset
          , PGain

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### CentralMicroControllerPID.DGain Property

Gets or sets the derivative gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double DGain {get; set;} |  |

Implements

IPID.DGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerPID

#### CentralMicroControllerPID.IGain Property

Gets or sets the integral gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double IGain {get; set;} |  |

Implements

IPID.IGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerPID

#### CentralMicroControllerPID.Offset Property

Gets or sets the offset
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Offset {get; set;} |  |

Implements

IPID.Offset

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerPID

#### CentralMicroControllerPID.PGain Property

Gets or sets the proportional gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PGain {get; set;} |  |

Implements

IPID.PGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CentralMicroControllerPID

### ConnectionBox Class

System.Object

Console.ConnectionBox

| C# |  |
| --- | --- |
| public class ConnectionBox |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

ConnectionBox

Properties

DiaphragmeMaximumValue
          , DiaphragmeMinimumValue

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### ConnectionBox Constructor

Creates  the Connection Box  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ConnectionBox() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ConnectionBox

#### ConnectionBox.DiaphragmeMaximumValue Property

Gets or sets  the diaphragme maximum value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double DiaphragmeMaximumValue {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ConnectionBox

#### ConnectionBox.DiaphragmeMinimumValue Property

Gets or sets  the diaphragme minimum Value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double DiaphragmeMinimumValue {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ConnectionBox

### ConsoleFiniteStateMachine Class

Represents  the console finite state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.ConsoleFiniteStateMachine

| C# |  |
| --- | --- |
| public class ConsoleFiniteStateMachine |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CurrentState
          , Instance

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### ConsoleFiniteStateMachine.CurrentState Property

Gets or sets the current state
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static MessageStateId CurrentState {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ConsoleFiniteStateMachine

#### ConsoleFiniteStateMachine.Instance Property

Get the console state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static ConsoleFiniteStateMachine Instance {get;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ConsoleFiniteStateMachine

### EcgEventArgs Class

Represents the ecg event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.EcgEventArgs

| C# |  |
| --- | --- |
| public class EcgEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

EcgEventArgs

Properties

Compter
          , EcgChannelData
          , EcgValue
          , ID

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### EcgEventArgs Constructor

Creates  class the Acceleromter...events
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public EcgEventArgs() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: EcgEventArgs

#### EcgEventArgs.Compter Property

Gets or sets the compter
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int Compter {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: EcgEventArgs

#### EcgEventArgs.EcgChannelData Property

Gets or sets the Ecg channel data
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double[] EcgChannelData {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: EcgEventArgs

#### EcgEventArgs.EcgValue Property

Gets or sets the Ecg value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double EcgValue {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: EcgEventArgs

#### EcgEventArgs.ID Property

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: EcgEventArgs

### FlowMeterEventArgs Class

Represents the flow meter event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.FlowMeterEventArgs

| C# |  |
| --- | --- |
| public class FlowMeterEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

FlowMeterEventArgs

Properties

FlowMeter

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### FlowMeterEventArgs Constructor

Creates the flow meter event class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public FlowMeterEventArgs( IFlowMeter _flowMeter ) |  |

Parameters

_flowMeter

flow meter

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterEventArgs

#### FlowMeterEventArgs.FlowMeter Property

Gets or sets the flow meter
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public IFlowMeter FlowMeter {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterEventArgs

### FlowMeterOne Class

Represents

System.Object

Console.FlowMeterOne

| C# |  |
| --- | --- |
| public class FlowMeterOne : IFlowMeter |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

FlowMeterHighRangelimit
          , FlowMeterLowRangeLimit
          , FlowMeterThresholHighlimit
          , FlowMeterThresholLowlimit
          , ID

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### FlowMeterOne.FlowMeterHighRangelimit Property

Gets or sets flow meter high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double FlowMeterHighRangelimit {get; set;} |  |

Implements

IFlowMeter.FlowMeterHighRangelimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterOne

#### FlowMeterOne.FlowMeterLowRangeLimit Property

Gets or sets the flow meter low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double FlowMeterLowRangeLimit {get; set;} |  |

Implements

IFlowMeter.FlowMeterLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterOne

#### FlowMeterOne.FlowMeterThresholHighlimit Property

Gets or sets the flow meter threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double FlowMeterThresholHighlimit {get; set;} |  |

Implements

IFlowMeter.FlowMeterThresholHighlimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterOne

#### FlowMeterOne.FlowMeterThresholLowlimit Property

Gets or sets the flow meter threshold  low limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double FlowMeterThresholLowlimit {get; set;} |  |

Implements

IFlowMeter.FlowMeterThresholLowlimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterOne

#### FlowMeterOne.ID Property

Gets or sets the flow meter one ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IFlowMeter.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: FlowMeterOne

### InflationEventArgs Class

Represents the inflation event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.InflationEventArgs

| C# |  |
| --- | --- |
| public class InflationEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

InflationEventArgs

Properties

TimeSpent

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### InflationEventArgs Constructor

Creates inflation event  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public InflationEventArgs() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InflationEventArgs

#### InflationEventArgs.TimeSpent Property

Gets or sets the time spent
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public TimeSpan TimeSpent {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InflationEventArgs

### InjectionFlow Class

Represents the injection flow class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.InjectionFlow

| C# |  |
| --- | --- |
| public class InjectionFlow |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

InjectionFlowId
          , TargetInjectionFlow

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### InjectionFlow.InjectionFlowId Property

Gets or sets the injection Flow id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int InjectionFlowId {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InjectionFlow

#### InjectionFlow.TargetInjectionFlow Property

Gets or sets the target Injection flow
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetInjectionFlow {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InjectionFlow

### InjectionPressure Class

Represents the injection pressure class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.InjectionPressure

| C# |  |
| --- | --- |
| public class InjectionPressure |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

InjectionPressureId
          , TargetInjectionPressure

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### InjectionPressure.InjectionPressureId Property

Gets or sets the Injection pressure id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int InjectionPressureId {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InjectionPressure

#### InjectionPressure.TargetInjectionPressure Property

Gets or sets the target injection pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetInjectionPressure {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: InjectionPressure

### LoadCell Class

Represents the load cell class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.LoadCell

| C# |  |
| --- | --- |
| public class LoadCell : ILoadCell |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , LoadCellHighRangeLimit
          , LoadCellLowRangeLimit
          , LoadCellThresholdFail
          , LoadCellThresholdWarning

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### LoadCell.ID Property

Gets or sets the load cell Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

ILoadCell.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCell

#### LoadCell.LoadCellHighRangeLimit Property

Gets or sets the load cell high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellHighRangeLimit {get; set;} |  |

Implements

ILoadCell.LoadCellHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCell

#### LoadCell.LoadCellLowRangeLimit Property

Gets or sets the load cell low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellLowRangeLimit {get; set;} |  |

Implements

ILoadCell.LoadCellLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCell

#### LoadCell.LoadCellThresholdFail Property

Gets or sets the load cell threshold fail
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellThresholdFail {get; set;} |  |

Implements

ILoadCell.LoadCellThresholdFail

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCell

#### LoadCell.LoadCellThresholdWarning Property

Gets or sets the load cell threshold warning
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellThresholdWarning {get; set;} |  |

Implements

ILoadCell.LoadCellThresholdWarning

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCell

### LoadCellEventArgs Class

Represents the load cell event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.LoadCellEventArgs

| C# |  |
| --- | --- |
| public class LoadCellEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

LoadCellEventArgs

Properties

LoadCell

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### LoadCellEventArgs Constructor

Creates  load cell event class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public LoadCellEventArgs( ILoadCell _loadCell ) |  |

Parameters

_loadCell

Load cell

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellEventArgs

#### LoadCellEventArgs.LoadCell Property

Gets or sets the load cell
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ILoadCell LoadCell {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellEventArgs

### LoadCellOne Class

Represents LC1 class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.LoadCellOne

| C# |  |
| --- | --- |
| public class LoadCellOne : ILoadCell |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , LoadCellHighRangeLimit
          , LoadCellLowRangeLimit
          , LoadCellThresholdFail
          , LoadCellThresholdWarning

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### LoadCellOne.ID Property

Gets or sets the LC1 id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

ILoadCell.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellOne

#### LoadCellOne.LoadCellHighRangeLimit Property

Gets or sets the load cell high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellHighRangeLimit {get; set;} |  |

Implements

ILoadCell.LoadCellHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellOne

#### LoadCellOne.LoadCellLowRangeLimit Property

Gets or sets the load cell low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellLowRangeLimit {get; set;} |  |

Implements

ILoadCell.LoadCellLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellOne

#### LoadCellOne.LoadCellThresholdFail Property

Gets or sets the load cell threshold fail
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellThresholdFail {get; set;} |  |

Implements

ILoadCell.LoadCellThresholdFail

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellOne

#### LoadCellOne.LoadCellThresholdWarning Property

Gets or sets the load cell threshold warning
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double LoadCellThresholdWarning {get; set;} |  |

Implements

ILoadCell.LoadCellThresholdWarning

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: LoadCellOne

### Machine Class

Represents  the console device
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.Machine

| C# |  |
| --- | --- |
| public class Machine |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

Machine

Properties

ActivateDiaphragmAndEsophagusAudioAlerts
          , AskForVitalParameters
          , Balloon
          , CanBusCommunication
          , Catheter
          , CentralMicroControllerFlowAndPressureRegulatorValueAccordingToTheStateMachine
          , CentralMicroControllerPIDValueAccordingToTheStateMachine
          , DeactivateFeatuers
          , DeflateAfterThaw
          , DmsDetectionThreshold
          , EnableOrDisablePIDManualMode
          , EnableOrDisablePressureFlowMode
          , EnableSlowInflationMode
          , FIFTEEN_POUND_TANK_METAL_WEIGHT
          , FlowMeterOneValueAccordingToTheStateMachine
          , GUIInMaintenanceMode
          , GUIInTestMode
          , GUIIsReady
          , GeneralPurposeInputOutput
          , InjectionFlowValueAccordingToTheStateMachine
          , InjectionPressureValueAccordingToTheStateMachine
          , IsCanTwoAttached
          , IsConsoleInAblationState
          , IsUsingAudioAlert
          , LoadCellOneValueAccordingToTheStateMachine
          , LockTheFootSwitch
          , NOT_USED_128
          , NOT_USED_16
          , NOT_USED_32
          , NOT_USED_64
          , NoErrorReportMode
          , PatientMicroControllerBalloonPressureRegulatorValueAccordingToTheStateMachine
          , PatientMicroControllerCryoBalloonConfigurationValueAccordingToTheStateMachine
          , PatientMicroControllerPIDValueAccordingToTheStateMachine
          , PatientPressureTransducerOneValueAccordingToTheStateMachine
          , PatientPressureTransducerTwoValueAccordingToTheStateMachine
          , PressureSwitchOneValueAccordingToTheStateMachine
          , PressureSwitchTwoValueAccordingToTheStateMachine
          , PressureTransducerFourValueAccordingToTheStateMachine
          , PressureTransducerOneValueAccordingToTheStateMachine
          , PressureTransducerThreeValueAccordingToTheStateMachine
          , PressureTransducerTwoValueAccordingToTheStateMachine
          , PurgeTheConsole
          , ServiceDevices
          , TENN_POUND_TANK_METAL_WEIGHT
          , Tank
          , TemperatureSensorOneValueAccordingToTheStateMachine
          , ThermocoupleOneValueAccordingToTheStateMachine

Methods

AblateDisable
          , AblateEnable
          , AnswerForRemoteFrame
          , CalibrateComponent
          , ChangeTankDisable
          , ChangeTankEnable
          , Connect
          , ConnectTheCanTwo
          , DeactivateAllIOS
          , Disconnect
          , DisconnectTheCanTwo
          , Equals (inherited from Object), FailResetDisable
          , FailResetEnable
          , Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), IinjectionEnable
          , InjectionDisable
          , MemberwiseClone (inherited from Object), OnBloodDetectorChanged
          , OnCanTwoRegisterValueChanged
          , OnEcgValueChanged
          , OnFlowChanged
          , OnLoadChanged
          , OnPressureChanged
          , OnPressureSwitchChanged
          , OnRegisterValueChanged
          , OnThermocoupleTemperatureChanged
          , PowerOffMessage
          , ReadFromMicroController
          , ReadFromMicroControllerOnCanTwo
          , SendHeartbeat
          , SendRemoteFrame
          , SetAudioLevel
          , SetCPLDSVLevel
          , Start
          , Stop
          , StopDisable
          , StopEnable
          , SystemResetDisable
          , SystemResetEnable
          , ToString (inherited from Object), VacuumDisable
          , VacuumEnable
          , WakeUpWDT
          , WatchdogResetDisable
          , WatchdogResetEnable
          , WriteFromMicroController

Events

bloodDetectorEvent
          , canTwoRegisterEvent
          , ecgEventArgs
          , flowMeterEvent
          , loadCellEvent
          , pressureSwitchEvent
          , pressureTransducerEvent
          , registerEvent
          , thermocoupleEvent

#### Machine Constructor

Creates  the console  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Machine() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ActivateDiaphragmAndEsophagusAudioAlerts Property

Gets or sets whether the diaphragm and esophagus audio alerts are activated.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool ActivateDiaphragmAndEsophagusAudioAlerts {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.AskForVitalParameters Property

Gets or sets Ask For Vital Parameters boolean value.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool AskForVitalParameters {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Balloon Property

Gets or sets balloon
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Balloon Balloon {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.CanBusCommunication Property

Gets or sets the can bus communication
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public CanBusCommunication CanBusCommunication {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Catheter Property

Gets or sets catheter
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Catheter Catheter {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.CentralMicroControllerFlowAndPressureRegulatorValueAccordingToTheStateMachine Property

Gets or sets the central microController flow and pressure regulator value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, CentralMicroControllerFlowAndPressureRegulator> CentralMicroControllerFlowAndPressureRegulatorValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.CentralMicroControllerPIDValueAccordingToTheStateMachine Property

Gets or sets central microController PID value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, CentralMicroControllerPID> CentralMicroControllerPIDValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.DeactivateFeatuers Property

Gets or sets whether the featuers are deactivated.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool DeactivateFeatuers {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.DeflateAfterThaw Property

Gets or sets whether deflate after thaw is enabled
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool DeflateAfterThaw {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.DmsDetectionThreshold Property

Gets or sets the Dms detection threshold
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double DmsDetectionThreshold {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.EnableOrDisablePIDManualMode Property

Gets or sets whether the PID manual mode is enabled
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool EnableOrDisablePIDManualMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.EnableOrDisablePressureFlowMode Property

Gets or sets whether the pressure flow mode is enabled
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool EnableOrDisablePressureFlowMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.EnableSlowInflationMode Property

Gets or sets inflation mode.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool EnableSlowInflationMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.FIFTEEN_POUND_TANK_METAL_WEIGHT Property

Gets or sets the fiftheen pound tank metal weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double FIFTEEN_POUND_TANK_METAL_WEIGHT {get;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.FlowMeterOneValueAccordingToTheStateMachine Property

Gets or sets flow meter one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, FlowMeterOne> FlowMeterOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.GUIInMaintenanceMode Property

Gets or sets whether the GUI is in maintenance mode
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool GUIInMaintenanceMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.GUIInTestMode Property

Gets or sets whether the GUI is in test mode
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool GUIInTestMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.GUIIsReady Property

Gets or sets whether the GUI is ready
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool GUIIsReady {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.GeneralPurposeInputOutput Property

Gets or sets general purpose input output
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public GeneralPurposeInputOutput GeneralPurposeInputOutput {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.InjectionFlowValueAccordingToTheStateMachine Property

Gets or sets injection flow value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, InjectionFlow> InjectionFlowValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.InjectionPressureValueAccordingToTheStateMachine Property

Gets or sets the injection pressure value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, InjectionPressure> InjectionPressureValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.IsCanTwoAttached Property

Gets or sets the Is Can Two Attached boolean value.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool IsCanTwoAttached {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.IsConsoleInAblationState Property

Gets or sets whether the console is in ablation state
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool IsConsoleInAblationState {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.IsUsingAudioAlert Property

Gets or sets if the GUI is using audio alert.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool IsUsingAudioAlert {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.LoadCellOneValueAccordingToTheStateMachine Property

Gets or sets load cell one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, LoadCellOne> LoadCellOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.LockTheFootSwitch Property

Gets or sets the foot switch state.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool LockTheFootSwitch {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.NOT_USED_128 Property

| C# |  |
| --- | --- |
| public bool NOT_USED_128 {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.NOT_USED_16 Property

| C# |  |
| --- | --- |
| public bool NOT_USED_16 {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.NOT_USED_32 Property

| C# |  |
| --- | --- |
| public bool NOT_USED_32 {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.NOT_USED_64 Property

| C# |  |
| --- | --- |
| public bool NOT_USED_64 {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.NoErrorReportMode Property

Gets or sets whether the we are in no error report mode
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool NoErrorReportMode {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PatientMicroControllerBalloonPressureRegulatorValueAccordingToTheStateMachine Property

Gets or sets the patient microController balloon pressure regulator value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PatientMicroControllerBalloonPressureRegulator> PatientMicroControllerBalloonPressureRegulatorValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PatientMicroControllerCryoBalloonConfigurationValueAccordingToTheStateMachine Property

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, CryoBalloonConfiguration> PatientMicroControllerCryoBalloonConfigurationValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PatientMicroControllerPIDValueAccordingToTheStateMachine Property

Gets or sets patient microController PID value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PatientMicroControllerPID> PatientMicroControllerPIDValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PatientPressureTransducerOneValueAccordingToTheStateMachine Property

Gets or sets patient pressure transducer one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PatientPressureTransducerOne> PatientPressureTransducerOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PatientPressureTransducerTwoValueAccordingToTheStateMachine Property

Gets or sets patient pressure transducer two value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PatientPressureTransducerTwo> PatientPressureTransducerTwoValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureSwitchOneValueAccordingToTheStateMachine Property

Gets or sets pressure switch one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureSwitchOne> PressureSwitchOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureSwitchTwoValueAccordingToTheStateMachine Property

Gets or sets pressure switch two value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureSwitchTwo> PressureSwitchTwoValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureTransducerFourValueAccordingToTheStateMachine Property

Gets or sets the pressure transducer four value according to the state machine event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureTransducerFour> PressureTransducerFourValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureTransducerOneValueAccordingToTheStateMachine Property

Gets or sets the pressure Transducer One value according to the state machine event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureTransducerOne> PressureTransducerOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureTransducerThreeValueAccordingToTheStateMachine Property

Gets or sets the pressure transducer three value according to the state machine event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureTransducerThree> PressureTransducerThreeValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PressureTransducerTwoValueAccordingToTheStateMachine Property

Gets or sets the pressure transducer two value according to the state machine event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, PressureTransducerTwo> PressureTransducerTwoValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PurgeTheConsole Property

Gets or sets the purge console mode.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public bool PurgeTheConsole {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ServiceDevices Property

Gets or sets the service devices.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ServiceDevices ServiceDevices {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.TENN_POUND_TANK_METAL_WEIGHT Property

Gets or sets the tenn pound tank metal weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TENN_POUND_TANK_METAL_WEIGHT {get;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Tank Property

Gets or sets tank
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Tank Tank {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.TemperatureSensorOneValueAccordingToTheStateMachine Property

Gets or sets temperature sensor one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, TemperatureSensorOne> TemperatureSensorOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ThermocoupleOneValueAccordingToTheStateMachine Property

Gets or sets thermocouple one value according to the state machine
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Dictionary<MessageStateId, ThermocoupleOne> ThermocoupleOneValueAccordingToTheStateMachine {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.AblateDisable Method

Ablate disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void AblateDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.AblateEnable Method

Ablate enable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void AblateEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.AnswerForRemoteFrame Method

Answer remote frame
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void AnswerForRemoteFrame( MessageStateId stateId, UInt32 RTRId, UInt32 localId, bool isItAnsewringCatheterValidation = false, bool iscatheterValid = false ) |  |

Parameters

stateId

console state

RTRId

RTR message id

localId

isItAnsewringCatheterValidation

Is it ansewring catheter validation

iscatheterValid

Is catheter valid

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.CalibrateComponent Method

Calibrate component
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void CalibrateComponent( CalibrationComponentId ComponentId ) |  |

Parameters

ComponentId

Component Id

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ChangeTankDisable Method

Change tank disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void ChangeTankDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ChangeTankEnable Method

Change tank enable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void ChangeTankEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Connect Method

Connect vacuum
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void Connect() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ConnectTheCanTwo Method

Connects the CAN two.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void ConnectTheCanTwo() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.DeactivateAllIOS Method

Deactivate all general-purpose input output
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void DeactivateAllIOS() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Disconnect Method

Disconnect Vacuum
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void Disconnect() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.DisconnectTheCanTwo Method

Disconnects the CAN two.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void DisconnectTheCanTwo() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.FailResetDisable Method

Fail reset disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void FailResetDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.FailResetEnable Method

Reset the failure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void FailResetEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.IinjectionEnable Method

Injection enable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void IinjectionEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.InjectionDisable Method

Injection disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void InjectionDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnBloodDetectorChanged Method

Handle the blood detector changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnBloodDetectorChanged( object sender, BloodDetectorEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain blood detector event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnCanTwoRegisterValueChanged Method

Handle the Can two register value changed
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnCanTwoRegisterValueChanged( object sender, RegisterValuesEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain register values event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnEcgValueChanged Method

Handle thew ecg value changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnEcgValueChanged( object sender, EcgEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain ecg event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnFlowChanged Method

Handle the flow changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnFlowChanged( object sender, FlowMeterEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain flow meter event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnLoadChanged Method

Handle the load changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnLoadChanged( object sender, LoadCellEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain load cell event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnPressureChanged Method

Handle pressure changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnPressureChanged( object sender, PressureTransducerEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain pressure transducer event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnPressureSwitchChanged Method

Handle pressure switch changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnPressureSwitchChanged( object sender, PressureSwitchEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain pressure switch event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnRegisterValueChanged Method

Handle the register value changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnRegisterValueChanged( object sender, RegisterValuesEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain register values event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.OnThermocoupleTemperatureChanged Method

Handle the thermocouple temperature Changed event
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| protected virtual void OnThermocoupleTemperatureChanged( object sender, ThermocoupleEventArgs e ) |  |

Parameters

sender

Refrence to the sender

e

Represents the base class for classes that contain thermocouple event data

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.PowerOffMessage Method

Power of the console message
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void PowerOffMessage() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ReadFromMicroController Method

Read From microcontroller
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void ReadFromMicroController( MessageStateId stateId, int Id ) |  |

Parameters

stateId

Console state

Id

Message id

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.ReadFromMicroControllerOnCanTwo Method

Read from microController on can two
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void ReadFromMicroControllerOnCanTwo( MessageStateId stateId, int Id ) |  |

Parameters

stateId

Console state

Id

Message id

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SendHeartbeat Method

Start heart beat thread
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SendHeartbeat() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SendRemoteFrame Method

Send RTR data
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SendRemoteFrame( MessageStateId stateId, UInt32 Id ) |  |

Parameters

stateId

console state

Id

message ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SetAudioLevel Method

Set the audio level
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SetAudioLevel( UInt32 audioLevel ) |  |

Parameters

audioLevel

audio level

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SetCPLDSVLevel Method

Set solenoid valves
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SetCPLDSVLevel( UInt32 svLevels ) |  |

Parameters

svLevels

levels of solenoid

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Start Method

Strat ablation
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void Start() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.Stop Method

Stop  ablation
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void Stop() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.StopDisable Method

Stop disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void StopDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.StopEnable Method

GUI stop message
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void StopEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SystemResetDisable Method

System reset disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SystemResetDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.SystemResetEnable Method

Reset the system
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void SystemResetEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.VacuumDisable Method

Vacuum disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void VacuumDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.VacuumEnable Method

Vacuum enable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void VacuumEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.WakeUpWDT Method

wake up the watchdog
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void WakeUpWDT() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.WatchdogResetDisable Method

Watchdog reset disable
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void WatchdogResetDisable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.WatchdogResetEnable Method

GUI watchdog reset
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void WatchdogResetEnable() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### Machine.WriteFromMicroController Method

Write from microController
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public void WriteFromMicroController( MessageStateId stateId, int Id ) |  |

Parameters

stateId

Console state

Id

Message id

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### bloodDetectorEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<BloodDetectorEventArgs> bloodDetectorEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### canTwoRegisterEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<RegisterValuesEventArgs> canTwoRegisterEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### ecgEventArgs Event

| C# |  |
| --- | --- |
| public event EventHandler<EcgEventArgs> ecgEventArgs |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### flowMeterEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<FlowMeterEventArgs> flowMeterEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### loadCellEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<LoadCellEventArgs> loadCellEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### pressureSwitchEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<PressureSwitchEventArgs> pressureSwitchEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### pressureTransducerEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<PressureTransducerEventArgs> pressureTransducerEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### registerEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<RegisterValuesEventArgs> registerEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

#### thermocoupleEvent Event

| C# |  |
| --- | --- |
| public event EventHandler<ThermocoupleEventArgs> thermocoupleEvent |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Machine

### PatientMicroControllerBalloonPressureRegulator Class

Represents the patient microController balloon pressure regulator class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PatientMicroControllerBalloonPressureRegulator

| C# |  |
| --- | --- |
| public class PatientMicroControllerBalloonPressureRegulator |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

TargetBalloonPressure

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PatientMicroControllerBalloonPressureRegulator.TargetBalloonPressure Property

Gets or sets the target balloon pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TargetBalloonPressure {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientMicroControllerBalloonPressureRegulator

### PatientMicroControllerPID Class

Represents PID P-gain, I-gain, D-gain, offset class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PatientMicroControllerPID

| C# |  |
| --- | --- |
| public class PatientMicroControllerPID : IPID |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

DGain
          , IGain
          , Offset
          , PGain

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PatientMicroControllerPID.DGain Property

Gets or sets derivative gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double DGain {get; set;} |  |

Implements

IPID.DGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientMicroControllerPID

#### PatientMicroControllerPID.IGain Property

Gets or sets the integral gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double IGain {get; set;} |  |

Implements

IPID.IGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientMicroControllerPID

#### PatientMicroControllerPID.Offset Property

Gets or sets the offset
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Offset {get; set;} |  |

Implements

IPID.Offset

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientMicroControllerPID

#### PatientMicroControllerPID.PGain Property

Gets or sets the proportional gain
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PGain {get; set;} |  |

Implements

IPID.PGain

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientMicroControllerPID

### PatientPressureTransducerOne Class

Represents the patient pressure transducer One class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PatientPressureTransducerOne

| C# |  |
| --- | --- |
| public class PatientPressureTransducerOne : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PatientPressureTransducerOne.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerOne

#### PatientPressureTransducerOne.ID Property

Gets or sets the Pressure ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerOne

#### PatientPressureTransducerOne.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerOne

#### PatientPressureTransducerOne.PressureLowRangeLimit Property

Gets or sets the pressure Low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerOne

#### PatientPressureTransducerOne.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerOne

### PatientPressureTransducerTwo Class

Represents the patient pressure transducer two class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PatientPressureTransducerTwo

| C# |  |
| --- | --- |
| public class PatientPressureTransducerTwo : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PatientPressureTransducerTwo.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerTwo

#### PatientPressureTransducerTwo.ID Property

Gets or sets the pressure ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerTwo

#### PatientPressureTransducerTwo.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerTwo

#### PatientPressureTransducerTwo.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerTwo

#### PatientPressureTransducerTwo.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PatientPressureTransducerTwo

### PressureSwitch Class

Represents the pressure switch class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureSwitch

| C# |  |
| --- | --- |
| public class PressureSwitch : IPressureSwitch |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureSwitch

Properties

ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureSwitch Constructor

Creates  the pressure switch  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureSwitch() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitch

#### PressureSwitch.ID Property

Gets or sets the pressure switch Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureSwitch.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitch

#### PressureSwitch.PressureHighRangeLimit Property

Gets or sets pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitch

#### PressureSwitch.PressureLowRangeLimit Property

Gets or sets pressure low Range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitch

#### PressureSwitch.PressureThresholdHighLimit Property

Gets or sets the pressure threshold High limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureSwitch.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitch

### PressureSwitchEventArgs Class

Represents the pressure switch event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.PressureSwitchEventArgs

| C# |  |
| --- | --- |
| public class PressureSwitchEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureSwitchEventArgs

Properties

PressureSwitch

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureSwitchEventArgs Constructor

Creates the  pressure switch event class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureSwitchEventArgs( List<IPressureSwitch> _pressureSwitch ) |  |

Parameters

_pressureSwitch

list of the pressure switch

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchEventArgs

#### PressureSwitchEventArgs.PressureSwitch Property

Gets or sets the list of the  pressureSwitch
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public List<IPressureSwitch> PressureSwitch {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchEventArgs

### PressureSwitchOne Class

Represents the pressure switch one class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureSwitchOne

| C# |  |
| --- | --- |
| public class PressureSwitchOne : IPressureSwitch |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureSwitchOne.ID Property

Gets or sets the pressure switch one ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureSwitch.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchOne

#### PressureSwitchOne.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchOne

#### PressureSwitchOne.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchOne

#### PressureSwitchOne.PressureThresholdHighLimit Property

Gets or sets pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureSwitch.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchOne

### PressureSwitchTwo Class

Represents the pressure switch two class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureSwitchTwo

| C# |  |
| --- | --- |
| public class PressureSwitchTwo : IPressureSwitch |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureSwitchTwo.ID Property

Gets or sets the pressure switch two
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureSwitch.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchTwo

#### PressureSwitchTwo.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchTwo

#### PressureSwitchTwo.PressureLowRangeLimit Property

Gets or sets pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureSwitch.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchTwo

#### PressureSwitchTwo.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureSwitch.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureSwitchTwo

### PressureTransducer Class

Represents the pressure transducer  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureTransducer

| C# |  |
| --- | --- |
| public class PressureTransducer : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureTransducer

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureTransducer Constructor

Creates the pressure transducer  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureTransducer() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

#### PressureTransducer.CurrentPressure Property

Get the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

#### PressureTransducer.ID Property

Gets or sets the pressure ID.
Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

#### PressureTransducer.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

#### PressureTransducer.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

#### PressureTransducer.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducer

### PressureTransducerEventArgs Class

Represents the pressure transducer event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.PressureTransducerEventArgs

| C# |  |
| --- | --- |
| public class PressureTransducerEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureTransducerEventArgs

Properties

PressureTransducer
          , Type

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

PressureType

#### PressureTransducerEventArgs Constructor

Creates pressure transducer event class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureTransducerEventArgs( List<IPressureTransducer> _PressureTransducer ) |  |

Parameters

_PressureTransducer

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerEventArgs

#### PressureTransducerEventArgs.PressureTransducer Property

Gets or sets the pressure transducer list
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public List<IPressureTransducer> PressureTransducer {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerEventArgs

#### PressureTransducerEventArgs.Type Property

Gets or sets the pressure type
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureType Type {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerEventArgs

#### PressureType Enumeration

Pressure type enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| CP | 1 |  |
| TP | 0 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: PressureTransducerEventArgs

### PressureTransducerFour Class

Represents the pressure transducer four
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureTransducerFour

| C# |  |
| --- | --- |
| public class PressureTransducerFour : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureTransducerFour.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerFour

#### PressureTransducerFour.ID Property

Gets or sets the pressure Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerFour

#### PressureTransducerFour.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerFour

#### PressureTransducerFour.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerFour

#### PressureTransducerFour.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerFour

### PressureTransducerOne Class

Represents the pressure transducer one class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureTransducerOne

| C# |  |
| --- | --- |
| public class PressureTransducerOne : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureTransducerOne

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit
          , TankPressureLow
          , TankPressureTooHigh

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureTransducerOne Constructor

Creates the pressure transducer one class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureTransducerOne() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.ID Property

Gets or sets the pressure tank Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.TankPressureLow Property

Gets or sets the tank pressure low
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TankPressureLow {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

#### PressureTransducerOne.TankPressureTooHigh Property

Gets or sets the tank pressure too high
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TankPressureTooHigh {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerOne

### PressureTransducerThree Class

Represents pressure transducer three class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureTransducerThree

| C# |  |
| --- | --- |
| public class PressureTransducerThree : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureTransducerThree

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureTransducerThree Constructor

Creates pressure transducer three class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureTransducerThree() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

#### PressureTransducerThree.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

#### PressureTransducerThree.ID Property

Gets or sets the pressure Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

#### PressureTransducerThree.PressureHighRangeLimit Property

Gets or sets the pressure high Range Limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

#### PressureTransducerThree.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

#### PressureTransducerThree.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerThree

### PressureTransducerTwo Class

Represents the pressure transducer two  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.PressureTransducerTwo

| C# |  |
| --- | --- |
| public class PressureTransducerTwo : IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

PressureTransducerTwo

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### PressureTransducerTwo Constructor

Creates the pressure transducer two  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public PressureTransducerTwo() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

#### PressureTransducerTwo.CurrentPressure Property

Gets or sets the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double CurrentPressure {get; set;} |  |

Implements

IPressureTransducer.CurrentPressure

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

#### PressureTransducerTwo.ID Property

Gets or sets the pressure Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IPressureTransducer.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

#### PressureTransducerTwo.PressureHighRangeLimit Property

Gets or sets the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureHighRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureHighRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

#### PressureTransducerTwo.PressureLowRangeLimit Property

Gets or sets the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureLowRangeLimit {get; set;} |  |

Implements

IPressureTransducer.PressureLowRangeLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

#### PressureTransducerTwo.PressureThresholdHighLimit Property

Gets or sets the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureThresholdHighLimit {get; set;} |  |

Implements

IPressureTransducer.PressureThresholdHighLimit

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: PressureTransducerTwo

### RegisterValuesEventArgs Class

Represents the register values event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.RegisterValuesEventArgs

| C# |  |
| --- | --- |
| public class RegisterValuesEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

RegisterValuesEventArgs

Properties

ID
          , Type

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

RegisterType

#### RegisterValuesEventArgs Constructor

Creates register values event  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public RegisterValuesEventArgs() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: RegisterValuesEventArgs

#### RegisterValuesEventArgs.ID Property

Gets or sets the register type id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: RegisterValuesEventArgs

#### RegisterValuesEventArgs.Type Property

Gets or sets the register type
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public RegisterType Type {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: RegisterValuesEventArgs

#### RegisterType Enumeration

Register type enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| ConnectionBox | 2 |  |
| MainMicrocontroller | 1 |  |
| PatientMicrocontroller | 0 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: RegisterValuesEventArgs

### SBCCANOneMessage Class

Represents SBC CAN one message class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.SBCCANOneMessage

| C# |  |
| --- | --- |
| public class SBCCANOneMessage |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

ElementId

#### ElementId Enumeration

Message element Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| AudioControl | 4 |  |
| CPLDValve | 1 |  |
| Calibration | 62 |  |
| PowerOffSignal | 16 |  |
| WDTWakeUpSignal | 63 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: SBCCANOneMessage

### SBCCANTWOMessage Class

Represents the SBC CAN two message class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.SBCCANTWOMessage

| C# |  |
| --- | --- |
| public class SBCCANTWOMessage |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

ElementId

#### ElementId Enumeration

Single board computer can bus two message
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| ConnectionBoxState | 10 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: SBCCANTWOMessage

### Tank Class

Represents the tank class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.Tank

| C# |  |
| --- | --- |
| public class Tank |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

Tank

Properties

ID
          , MaximumWeight
          , MetalWeight
          , MinimumWeight
          , N2OWeight

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

TankType

#### Tank Constructor

Creates the tank class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Tank() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### Tank.ID Property

Gets or sets the tank Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### Tank.MaximumWeight Property

Gets or sets the tank maximum weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double MaximumWeight {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### Tank.MetalWeight Property

Gets or sets the tank metal weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double MetalWeight {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### Tank.MinimumWeight Property

Gets or sets the tank minimum weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double MinimumWeight {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### Tank.N2OWeight Property

Gets or sets the nitrous oxide weight
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double N2OWeight {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: Tank

#### TankType Enumeration

tank type
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| FIFTEEN_POUND_TANK | 2 |  |
| TENN_POUND_TANK | 1 |  |
| Unknown | 0 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: Tank

### TemperatureSensorOne Class

Represents the temperature sensor one class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.TemperatureSensorOne

| C# |  |
| --- | --- |
| public class TemperatureSensorOne : IThermocouple |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , Temperature
          , TemperatureHighRangeLimit
          , TemperatureLowRangeLimit
          , TemperatureThresholdHighLimit
          , ThawingTemperature

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### TemperatureSensorOne.ID Property

Gets or sets the temperature sensor one Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IThermocouple.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

#### TemperatureSensorOne.Temperature Property

Gets or sets the temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Temperature {get; set;} |  |

Implements

IThermocouple.Temperature

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

#### TemperatureSensorOne.TemperatureHighRangeLimit Property

Gets or sets the temperature high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TemperatureHighRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

#### TemperatureSensorOne.TemperatureLowRangeLimit Property

Gets or sets the temperature low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TemperatureLowRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

#### TemperatureSensorOne.TemperatureThresholdHighLimit Property

Gets or sets temperature threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double TemperatureThresholdHighLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

#### TemperatureSensorOne.ThawingTemperature Property

Gets or sets the thawing temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double ThawingTemperature {get; set;} |  |

Implements

IThermocouple.ThawingTemperature

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: TemperatureSensorOne

### ThermocoupleEventArgs Class

Represents the thermocouple event args class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

System.EventArgs

Console.ThermocoupleEventArgs

| C# |  |
| --- | --- |
| public class ThermocoupleEventArgs : EventArgs |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

ThermocoupleEventArgs

Properties

Thermocouple
          , Type

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

Enumerations

ThermocoupleType

#### ThermocoupleEventArgs Constructor

Creates thermocouple event  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ThermocoupleEventArgs( List<IThermocouple> _ThermocoupleEventArgs ) |  |

Parameters

_ThermocoupleEventArgs

list of thermocouple event args

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleEventArgs

#### ThermocoupleEventArgs.Thermocouple Property

Gets or sets the list of thermocouple
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public List<IThermocouple> Thermocouple {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleEventArgs

#### ThermocoupleEventArgs.Type Property

Gets or sets the thermocouple type
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ThermocoupleType Type {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleEventArgs

#### ThermocoupleType Enumeration

Thermocouple type enumeration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| Constant | Value | Description |
| --- | --- | --- |
| TC | 0 |  |
| TS | 1 |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

See Also

Applies to: ThermocoupleEventArgs

### ThermocoupleOne Class

Represents thermocouple one  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.ThermocoupleOne

| C# |  |
| --- | --- |
| public class ThermocoupleOne : IThermocouple |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

ThermocoupleOne

Properties

ID
          , Temperature
          , ThawingTemperature

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### ThermocoupleOne Constructor

Gets or sets the creates thermocouple one  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ThermocoupleOne() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleOne

#### ThermocoupleOne.ID Property

Gets or sets the thermocouple one Id
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int ID {get; set;} |  |

Implements

IThermocouple.ID

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleOne

#### ThermocoupleOne.Temperature Property

Gets or sets the temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double Temperature {get; set;} |  |

Implements

IThermocouple.Temperature

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleOne

#### ThermocoupleOne.ThawingTemperature Property

Gets or sets the thawing temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double ThawingTemperature {get; set;} |  |

Implements

IThermocouple.ThawingTemperature

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ThermocoupleOne

### IBloodDetector Interface

Represents the blood detector interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IBloodDetector |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID

#### IBloodDetector.ID Property

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IBloodDetector

### IFlowMeter Interface

Represents the flow meter interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IFlowMeter |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

FlowMeterHighRangelimit
          , FlowMeterLowRangeLimit
          , FlowMeterThresholHighlimit
          , FlowMeterThresholLowlimit
          , ID

#### IFlowMeter.FlowMeterHighRangelimit Property

| C# |  |
| --- | --- |
| double FlowMeterHighRangelimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IFlowMeter

#### IFlowMeter.FlowMeterLowRangeLimit Property

| C# |  |
| --- | --- |
| double FlowMeterLowRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IFlowMeter

#### IFlowMeter.FlowMeterThresholHighlimit Property

| C# |  |
| --- | --- |
| double FlowMeterThresholHighlimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IFlowMeter

#### IFlowMeter.FlowMeterThresholLowlimit Property

| C# |  |
| --- | --- |
| double FlowMeterThresholLowlimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IFlowMeter

#### IFlowMeter.ID Property

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IFlowMeter

### ILoadCell Interface

Represents the load cell interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface ILoadCell |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , LoadCellHighRangeLimit
          , LoadCellLowRangeLimit
          , LoadCellThresholdFail
          , LoadCellThresholdWarning

#### ILoadCell.ID Property

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ILoadCell

#### ILoadCell.LoadCellHighRangeLimit Property

| C# |  |
| --- | --- |
| double LoadCellHighRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ILoadCell

#### ILoadCell.LoadCellLowRangeLimit Property

| C# |  |
| --- | --- |
| double LoadCellLowRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ILoadCell

#### ILoadCell.LoadCellThresholdFail Property

| C# |  |
| --- | --- |
| double LoadCellThresholdFail {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ILoadCell

#### ILoadCell.LoadCellThresholdWarning Property

| C# |  |
| --- | --- |
| double LoadCellThresholdWarning {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ILoadCell

### IPID Interface

Represents the PID interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IPID |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

DGain
          , IGain
          , Offset
          , PGain

#### IPID.DGain Property

Gets or sets  the PID derivative value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double DGain {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPID

#### IPID.IGain Property

Gets or sets  the PID integral value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double IGain {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPID

#### IPID.Offset Property

Gets or sets  the PID offset value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double Offset {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPID

#### IPID.PGain Property

Gets or sets  the  PID proportional value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PGain {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPID

### IPressureSwitch Interface

Represents the pressure switch interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IPressureSwitch |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

#### IPressureSwitch.ID Property

Gets or sets  the pressure switch ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureSwitch

#### IPressureSwitch.PressureHighRangeLimit Property

Gets or sets  the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureHighRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureSwitch

#### IPressureSwitch.PressureLowRangeLimit Property

Gets or sets  the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureLowRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureSwitch

#### IPressureSwitch.PressureThresholdHighLimit Property

Gets or sets  the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureThresholdHighLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureSwitch

### IPressureTransducer Interface

Represents the pressure transducer interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IPressureTransducer |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

CurrentPressure
          , ID
          , PressureHighRangeLimit
          , PressureLowRangeLimit
          , PressureThresholdHighLimit

#### IPressureTransducer.CurrentPressure Property

Gets or sets  the current pressure
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double CurrentPressure {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureTransducer

#### IPressureTransducer.ID Property

Gets or sets  the pressure transducer ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureTransducer

#### IPressureTransducer.PressureHighRangeLimit Property

Gets or sets  the pressure high range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureHighRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureTransducer

#### IPressureTransducer.PressureLowRangeLimit Property

Gets or sets  the pressure low range limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureLowRangeLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureTransducer

#### IPressureTransducer.PressureThresholdHighLimit Property

Gets or sets  the pressure threshold high limit
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double PressureThresholdHighLimit {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IPressureTransducer

### IThermocouple Interface

Represents the thermocouple interface
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public interface IThermocouple |  |

Requirements

Namespace:Console

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

ID
          , Temperature
          , ThawingTemperature

#### IThermocouple.ID Property

Gets or sets  the thermocouple ID
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| int ID {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IThermocouple

#### IThermocouple.Temperature Property

Gets or sets  the thermocouple temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double Temperature {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IThermocouple

#### IThermocouple.ThawingTemperature Property

Gets or sets  the thawing temperature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| double ThawingTemperature {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: IThermocouple

## Console.Configurations Namespace

Classes

CryoBalloonConfiguration

### CryoBalloonConfiguration Class

Represents  the CryoBalloon Configuration
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.Configurations.CryoBalloonConfiguration

| C# |  |
| --- | --- |
| public class CryoBalloonConfiguration |  |

Requirements

Namespace:Console.Configurations

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Properties

PressureRampDownValue
          , PressureRampUpValue
          , RampDownTimeByStep
          , RampUpTimeByStep

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### CryoBalloonConfiguration.PressureRampDownValue Property

Gets or sets the pressure ramp down value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureRampDownValue {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CryoBalloonConfiguration

#### CryoBalloonConfiguration.PressureRampUpValue Property

Gets or sets the pressure ramp up value
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double PressureRampUpValue {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CryoBalloonConfiguration

#### CryoBalloonConfiguration.RampDownTimeByStep Property

Gets or sets the ramp down time by step
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double RampDownTimeByStep {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CryoBalloonConfiguration

#### CryoBalloonConfiguration.RampUpTimeByStep Property

Gets or sets the ramp up time by step
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public double RampUpTimeByStep {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: CryoBalloonConfiguration

## Console.Helpers Namespace

Classes

BuildDataBytes
          , ServiceDevices

### BuildDataBytes Class

Build can one and can two data bytes

System.Object

Console.Helpers.BuildDataBytes

| C# |  |
| --- | --- |
| public static class BuildDataBytes |  |

Requirements

Namespace:Console.Helpers

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Methods

ConvertAudioComponentDataToByte
          , ConvertBallonDataToByte
          , ConvertBalloonSizeDataToByte
          , ConvertCalibrationComponentDataToByte
          , ConvertCatheterIDSerialNumberExpirationDateDataToByte
          , ConvertCatheterLastUseDateNumberOfInjectionsDataToByte
          , ConvertCatheterValidationDataToByte
          , ConvertConsoleStateToByte
          , ConvertFlowMeterOneDataToBytes
          , ConvertHeartbeatStatusDataToByte
          , ConvertInjectionFlowDataToByte
          , ConvertLoadCellOneDataToBytes
          , ConvertPIDDataToByte
          , ConvertPatientPressureTransducerOneDataToBytes
          , ConvertPressureSwitchDataToBytes
          , ConvertPressureTransducerDataToBytes
          , ConvertTemperatureSensorOneDataToBytes
          , ConvertThermocoupleOneDataToBytes
          , Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### BuildDataBytes.ConvertAudioComponentDataToByte Method

Convert audio component data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertAudioComponentDataToByte( int ComponentValue ) |  |

Parameters

ComponentValue

Component value

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertBallonDataToByte Method

Convert ballon data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertBallonDataToByte( PatientMicroControllerBalloonPressureRegulator ballon ) |  |

Parameters

ballon

Ballon

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertBalloonSizeDataToByte Method

Convert balloon size data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertBalloonSizeDataToByte( CryoBalloonConfiguration cryoBalloonConfiguration ) |  |

Parameters

cryoBalloonConfiguration

The cryoballoon configuration

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertCalibrationComponentDataToByte Method

Convert calibration component data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertCalibrationComponentDataToByte( int ComponentValue ) |  |

Parameters

ComponentValue

Component value

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertCatheterIDSerialNumberExpirationDateDataToByte Method

Convert catheter iD , serial number, and expiration date data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertCatheterIDSerialNumberExpirationDateDataToByte( Catheter catheter ) |  |

Parameters

catheter

Catheter object

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertCatheterLastUseDateNumberOfInjectionsDataToByte Method

Convert Catheter last use date number of injections data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertCatheterLastUseDateNumberOfInjectionsDataToByte( Catheter catheter ) |  |

Parameters

catheter

Catheter object

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertCatheterValidationDataToByte Method

Convert catheter validation data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertCatheterValidationDataToByte( Catheter catheter, bool isCatethervaild = false ) |  |

Parameters

catheter

Catheter object

isCatethervaild

Is catether vaild

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertConsoleStateToByte Method

Convert console state to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertConsoleStateToByte( int isInablationState ) |  |

Parameters

isInablationState

Is console In Ablation state

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertFlowMeterOneDataToBytes Method

Convert flow meter data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertFlowMeterOneDataToBytes( FlowMeterOne flowMeterOne, string valuesType = "Threshold" ) |  |

Parameters

flowMeterOne

Flow Meter

valuesType

Values type

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertHeartbeatStatusDataToByte (Int32, Double) Method

Convert heart beat status data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertHeartbeatStatusDataToByte( int HeartbeatStatusValue, double dmsDetectionThreshold ) |  |

Parameters

HeartbeatStatusValue

Heart beat status value

dmsDetectionThreshold

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertHeartbeatStatusDataToByte (Int32) Method

Convert heart beat status data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertHeartbeatStatusDataToByte( int HeartbeatStatusValue ) |  |

Parameters

HeartbeatStatusValue

Heart beat status value

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertInjectionFlowDataToByte Method

Convert injection flow data to Bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertInjectionFlowDataToByte( CentralMicroControllerFlowAndPressureRegulator injectionFlow, CentralMicroControllerFlowAndPressureRegulator injectionPressure ) |  |

Parameters

injectionFlow

Injection flow

injectionPressure

Injection pressure

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertLoadCellOneDataToBytes Method

Convert load cell data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertLoadCellOneDataToBytes( LoadCellOne loadCellOne, string valuesType = "Threshold" ) |  |

Parameters

loadCellOne

Load cell

valuesType

Values type

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertPIDDataToByte Method

Convert PID data to byte
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertPIDDataToByte( IPID pid ) |  |

Parameters

pid

PID object

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertPatientPressureTransducerOneDataToBytes Method

Convert patient pressure transducer one data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertPatientPressureTransducerOneDataToBytes( PatientPressureTransducerOne patientPressureTransducerOne ) |  |

Parameters

patientPressureTransducerOne

Patient pressure transducer one

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertPressureSwitchDataToBytes Method

convert pressure switch data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertPressureSwitchDataToBytes( IPressureSwitch pressureSwitch, string valuesType = "Threshold" ) |  |

Parameters

pressureSwitch

Pressure switch

valuesType

Values type

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertPressureTransducerDataToBytes Method

Convert pressure transducer data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertPressureTransducerDataToBytes( IPressureTransducer pressureTrnasducer, string valuesType = "Threshold" ) |  |

Parameters

pressureTrnasducer

pressure trnasducer

valuesType

values type

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertTemperatureSensorOneDataToBytes Method

Convert temperature sensor  Data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertTemperatureSensorOneDataToBytes( TemperatureSensorOne temperatureSensorOne, string valuesType = "Threshold" ) |  |

Parameters

temperatureSensorOne

valuesType

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

#### BuildDataBytes.ConvertThermocoupleOneDataToBytes Method

Convert thermocouple one data to bytes
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public static byte[] ConvertThermocoupleOneDataToBytes( ThermocoupleOne thermocoupleOne ) |  |

Parameters

thermocoupleOne

Thermocouple one

Returns

Data as byte array

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: BuildDataBytes

### ServiceDevices Class

Represents the devices that will be used on by service
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

System.Object

Console.Helpers.ServiceDevices

| C# |  |
| --- | --- |
| public class ServiceDevices |  |

Requirements

Namespace:Console.Helpers

Platforms: Windows Embedded Standard 7

Assembly: Console (in Console.dll)

Constructors

ServiceDevices

Properties

EngineeringCatheter
          , EngineeringCatheterSignature

Methods

Equals (inherited from Object), Finalize (inherited from Object), GetHashCode (inherited from Object), GetType (inherited from Object), MemberwiseClone (inherited from Object), ToString (inherited from Object)

#### ServiceDevices Constructor

Creates  the Service Devices  class
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public ServiceDevices() |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ServiceDevices

#### ServiceDevices.EngineeringCatheter Property

Gets or sets the engineering catheter
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public Catheter EngineeringCatheter {get; set;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ServiceDevices

#### ServiceDevices.EngineeringCatheterSignature Property

Gets or sets the engineering catheter signature
. Safety classification: No injury or damage to health is possible(IEC 62304 Class A).

| C# |  |
| --- | --- |
| public int EngineeringCatheterSignature {get;} |  |

Requirements

Platforms: Windows Embedded Standard 7

See Also

Applies to: ServiceDevices

# Index

AblateDisable Method

AblateEnable Method

AblationEventArgs Class

AblationEventArgs Constructor

AblationTimerEventArgs Class

AblationTimerEventArgs Constructor

ActivateDiaphragmAndEsophagusAudioAlerts Property

AnswerForRemoteFrame Method

AskForVitalParameters Property

Balloon Class

Balloon Property

BalloonId Property

BloodDetector Class

BloodDetector Property

BloodDetectorEventArgs Class

BloodDetectorEventArgs Constructor

BuildDataBytes Class

CPLDRegisterId Enumeration

CalibrateComponent Method

CalibrationComponentANDCPLDRegister Class

CalibrationComponentId Enumeration

CanBusCommunication Property

CanTwoHeartbeatStatus Enumeration

Catheter Class

Catheter Property

CatheterExpirationDay Property

CatheterExpirationMonth Property

CatheterExpirationYear Property

CatheterID Property

CatheterLastUseDay Property

CatheterLastUseHour Property

CatheterLastUseMonth Property

CatheterLastUseYear Property

CatheterLot Property

CentralMicroControllerFlowAndPressureRegulator Class

CentralMicroControllerFlowAndPressureRegulatorValueAccordingToTheStateMachine Property

CentralMicroControllerPID Class

CentralMicroControllerPIDValueAccordingToTheStateMachine Property

ChangeTankDisable Method

ChangeTankEnable Method

Compter Property {Console.AblationEventArgs}

Compter Property {Console.EcgEventArgs}

Connect Method

ConnectTheCanTwo Method

ConnectionBox Class

ConnectionBox Constructor

Console Namespace

Console Reference

Console.Configurations Namespace

Console.Helpers Namespace

ConsoleFiniteStateMachine Class

ConvertAudioComponentDataToByte Method

ConvertBallonDataToByte Method

ConvertBalloonSizeDataToByte Method

ConvertCalibrationComponentDataToByte Method

ConvertCatheterIDSerialNumberExpirationDateDataToByte Method

ConvertCatheterLastUseDateNumberOfInjectionsDataToByte Method

ConvertCatheterValidationDataToByte Method

ConvertConsoleStateToByte Method

ConvertFlowMeterOneDataToBytes Method

ConvertHeartbeatStatusDataToByte (Int32) Method

ConvertHeartbeatStatusDataToByte (Int32, Double) Method

ConvertInjectionFlowDataToByte Method

ConvertLoadCellOneDataToBytes Method

ConvertPIDDataToByte Method

ConvertPatientPressureTransducerOneDataToBytes Method

ConvertPressureSwitchDataToBytes Method

ConvertPressureTransducerDataToBytes Method

ConvertTemperatureSensorOneDataToBytes Method

ConvertThermocoupleOneDataToBytes Method

CryoBalloonConfiguration Class

CurrentPressure Property {Console.IPressureTransducer}

CurrentPressure Property {Console.PatientPressureTransducerOne}

CurrentPressure Property {Console.PatientPressureTransducerTwo}

CurrentPressure Property {Console.PressureTransducerFour}

CurrentPressure Property {Console.PressureTransducerOne}

CurrentPressure Property {Console.PressureTransducerThree}

CurrentPressure Property {Console.PressureTransducerTwo}

CurrentPressure Property {Console.PressureTransducer}

CurrentState Property

DGain Property {Console.CentralMicroControllerPID}

DGain Property {Console.IPID}

DGain Property {Console.PatientMicroControllerPID}

DeactivateAllIOS Method

DeactivateFeatuers Property

DeflateAfterThaw Property

DiaphragmeMaximumValue Property

DiaphragmeMinimumValue Property

Disconnect Method

DisconnectTheCanTwo Method

DmsDetectionThreshold Property

EcgChannelData Property

EcgEventArgs Class

EcgEventArgs Constructor

EcgValue Property

ElementId Enumeration {Console.SBCCANOneMessage}

ElementId Enumeration {Console.SBCCANTWOMessage}

EnableOrDisablePIDManualMode Property

EnableOrDisablePressureFlowMode Property

EnableSlowInflationMode Property

EngineeringCatheter Property

EngineeringCatheterSignature Property

FIFTEEN_POUND_TANK_METAL_WEIGHT Property

FailResetDisable Method

FailResetEnable Method

FlowMeter Property

FlowMeterEventArgs Class

FlowMeterEventArgs Constructor

FlowMeterHighRangelimit Property {Console.FlowMeterOne}

FlowMeterHighRangelimit Property {Console.IFlowMeter}

FlowMeterLowRangeLimit Property {Console.FlowMeterOne}

FlowMeterLowRangeLimit Property {Console.IFlowMeter}

FlowMeterOne Class

FlowMeterOneValueAccordingToTheStateMachine Property

FlowMeterThresholHighlimit Property {Console.FlowMeterOne}

FlowMeterThresholHighlimit Property {Console.IFlowMeter}

FlowMeterThresholLowlimit Property {Console.FlowMeterOne}

FlowMeterThresholLowlimit Property {Console.IFlowMeter}

GUIInMaintenanceMode Property

GUIInTestMode Property

GUIIsReady Property

GeneralPurposeInputOutput Property

HeartbeatStatus Enumeration

IBloodDetector Interface

ID Property {Console.BloodDetector}

ID Property {Console.EcgEventArgs}

ID Property {Console.FlowMeterOne}

ID Property {Console.IBloodDetector}

ID Property {Console.IFlowMeter}

ID Property {Console.ILoadCell}

ID Property {Console.IPressureSwitch}

ID Property {Console.IPressureTransducer}

ID Property {Console.IThermocouple}

ID Property {Console.LoadCellOne}

ID Property {Console.LoadCell}

ID Property {Console.PatientPressureTransducerOne}

ID Property {Console.PatientPressureTransducerTwo}

ID Property {Console.PressureSwitchOne}

ID Property {Console.PressureSwitchTwo}

ID Property {Console.PressureSwitch}

ID Property {Console.PressureTransducerFour}

ID Property {Console.PressureTransducerOne}

ID Property {Console.PressureTransducerThree}

ID Property {Console.PressureTransducerTwo}

ID Property {Console.PressureTransducer}

ID Property {Console.RegisterValuesEventArgs}

ID Property {Console.Tank}

ID Property {Console.TemperatureSensorOne}

ID Property {Console.ThermocoupleOne}

IFlowMeter Interface

IGain Property {Console.CentralMicroControllerPID}

IGain Property {Console.IPID}

IGain Property {Console.PatientMicroControllerPID}

ILoadCell Interface

IPID Interface

IPressureSwitch Interface

IPressureTransducer Interface

IThermocouple Interface

IinjectionEnable Method

InflationEventArgs Class

InflationEventArgs Constructor

InjectionDisable Method

InjectionFlow Class

InjectionFlowId Property

InjectionFlowValueAccordingToTheStateMachine Property

InjectionPressure Class

InjectionPressureId Property

InjectionPressureValueAccordingToTheStateMachine Property

Instance Property

IsCanTwoAttached Property

IsConsoleInAblationState Property

IsUsingAudioAlert Property

LoadCell Class

LoadCell Property

LoadCellEventArgs Class

LoadCellEventArgs Constructor

LoadCellHighRangeLimit Property {Console.ILoadCell}

LoadCellHighRangeLimit Property {Console.LoadCellOne}

LoadCellHighRangeLimit Property {Console.LoadCell}

LoadCellLowRangeLimit Property {Console.ILoadCell}

LoadCellLowRangeLimit Property {Console.LoadCellOne}

LoadCellLowRangeLimit Property {Console.LoadCell}

LoadCellOne Class

LoadCellOneValueAccordingToTheStateMachine Property

LoadCellThresholdFail Property {Console.ILoadCell}

LoadCellThresholdFail Property {Console.LoadCellOne}

LoadCellThresholdFail Property {Console.LoadCell}

LoadCellThresholdWarning Property {Console.ILoadCell}

LoadCellThresholdWarning Property {Console.LoadCellOne}

LoadCellThresholdWarning Property {Console.LoadCell}

LockTheFootSwitch Property

Machine Class

Machine Constructor

MaximumWeight Property

MetalWeight Property

MinimumWeight Property

N2OWeight Property

NOT_USED_128 Property

NOT_USED_16 Property

NOT_USED_32 Property

NOT_USED_64 Property

NoErrorReportMode Property

NumberOfInjections Property

Offset Property {Console.CentralMicroControllerPID}

Offset Property {Console.IPID}

Offset Property {Console.PatientMicroControllerPID}

OnBloodDetectorChanged Method

OnCanTwoRegisterValueChanged Method

OnEcgValueChanged Method

OnFlowChanged Method

OnLoadChanged Method

OnPressureChanged Method

OnPressureSwitchChanged Method

OnRegisterValueChanged Method

OnThermocoupleTemperatureChanged Method

PGain Property {Console.CentralMicroControllerPID}

PGain Property {Console.IPID}

PGain Property {Console.PatientMicroControllerPID}

PatientMicroControllerBalloonPressureRegulator Class

PatientMicroControllerBalloonPressureRegulatorValueAccordingToTheStateMachine Property

PatientMicroControllerCryoBalloonConfigurationValueAccordingToTheStateMachine Property

PatientMicroControllerPID Class

PatientMicroControllerPIDValueAccordingToTheStateMachine Property

PatientPressureTransducerOne Class

PatientPressureTransducerOneValueAccordingToTheStateMachine Property

PatientPressureTransducerTwo Class

PatientPressureTransducerTwoValueAccordingToTheStateMachine Property

PowerOffMessage Method

PressureHighRangeLimit Property {Console.IPressureSwitch}

PressureHighRangeLimit Property {Console.IPressureTransducer}

PressureHighRangeLimit Property {Console.PatientPressureTransducerOne}

PressureHighRangeLimit Property {Console.PatientPressureTransducerTwo}

PressureHighRangeLimit Property {Console.PressureSwitchOne}

PressureHighRangeLimit Property {Console.PressureSwitchTwo}

PressureHighRangeLimit Property {Console.PressureSwitch}

PressureHighRangeLimit Property {Console.PressureTransducerFour}

PressureHighRangeLimit Property {Console.PressureTransducerOne}

PressureHighRangeLimit Property {Console.PressureTransducerThree}

PressureHighRangeLimit Property {Console.PressureTransducerTwo}

PressureHighRangeLimit Property {Console.PressureTransducer}

PressureLowRangeLimit Property {Console.IPressureSwitch}

PressureLowRangeLimit Property {Console.IPressureTransducer}

PressureLowRangeLimit Property {Console.PatientPressureTransducerOne}

PressureLowRangeLimit Property {Console.PatientPressureTransducerTwo}

PressureLowRangeLimit Property {Console.PressureSwitchOne}

PressureLowRangeLimit Property {Console.PressureSwitchTwo}

PressureLowRangeLimit Property {Console.PressureSwitch}

PressureLowRangeLimit Property {Console.PressureTransducerFour}

PressureLowRangeLimit Property {Console.PressureTransducerOne}

PressureLowRangeLimit Property {Console.PressureTransducerThree}

PressureLowRangeLimit Property {Console.PressureTransducerTwo}

PressureLowRangeLimit Property {Console.PressureTransducer}

PressureRampDownValue Property

PressureRampUpValue Property

PressureSwitch Class

PressureSwitch Constructor

PressureSwitch Property

PressureSwitchEventArgs Class

PressureSwitchEventArgs Constructor

PressureSwitchOne Class

PressureSwitchOneValueAccordingToTheStateMachine Property

PressureSwitchTwo Class

PressureSwitchTwoValueAccordingToTheStateMachine Property

PressureThresholdHighLimit Property {Console.IPressureSwitch}

PressureThresholdHighLimit Property {Console.IPressureTransducer}

PressureThresholdHighLimit Property {Console.PatientPressureTransducerOne}

PressureThresholdHighLimit Property {Console.PatientPressureTransducerTwo}

PressureThresholdHighLimit Property {Console.PressureSwitchOne}

PressureThresholdHighLimit Property {Console.PressureSwitchTwo}

PressureThresholdHighLimit Property {Console.PressureSwitch}

PressureThresholdHighLimit Property {Console.PressureTransducerFour}

PressureThresholdHighLimit Property {Console.PressureTransducerOne}

PressureThresholdHighLimit Property {Console.PressureTransducerThree}

PressureThresholdHighLimit Property {Console.PressureTransducerTwo}

PressureThresholdHighLimit Property {Console.PressureTransducer}

PressureTransducer Class

PressureTransducer Constructor

PressureTransducer Property

PressureTransducerEventArgs Class

PressureTransducerEventArgs Constructor

PressureTransducerFour Class

PressureTransducerFourValueAccordingToTheStateMachine Property

PressureTransducerOne Class

PressureTransducerOne Constructor

PressureTransducerOneValueAccordingToTheStateMachine Property

PressureTransducerThree Class

PressureTransducerThree Constructor

PressureTransducerThreeValueAccordingToTheStateMachine Property

PressureTransducerTwo Class

PressureTransducerTwo Constructor

PressureTransducerTwoValueAccordingToTheStateMachine Property

PressureType Enumeration

PurgeTheConsole Property

RampDownTimeByStep Property

RampUpTimeByStep Property

ReadFromMicroController Method

ReadFromMicroControllerOnCanTwo Method

RegisterType Enumeration

RegisterValuesEventArgs Class

RegisterValuesEventArgs Constructor

SBCCANOneMessage Class

SBCCANTWOMessage Class

Seconds Property

SendHeartbeat Method

SendRemoteFrame Method

SerialNumber Property

ServiceDevices Class

ServiceDevices Constructor

ServiceDevices Property

SetAudioLevel Method

SetCPLDSVLevel Method

Start Method

Stop Method

StopDisable Method

StopEnable Method

SystemResetDisable Method

SystemResetEnable Method

TENN_POUND_TANK_METAL_WEIGHT Property

Tank Class

Tank Constructor

Tank Property

TankPressureLow Property

TankPressureTooHigh Property

TankType Enumeration

TargetBalloonFlow Property

TargetBalloonPressure Property {Console.Balloon}

TargetBalloonPressure Property {Console.PatientMicroControllerBalloonPressureRegulator}

TargetInjectionFlow Property {Console.CentralMicroControllerFlowAndPressureRegulator}

TargetInjectionFlow Property {Console.InjectionFlow}

TargetInjectionPressure Property {Console.CentralMicroControllerFlowAndPressureRegulator}

TargetInjectionPressure Property {Console.InjectionPressure}

Temperature Property {Console.AblationEventArgs}

Temperature Property {Console.IThermocouple}

Temperature Property {Console.TemperatureSensorOne}

Temperature Property {Console.ThermocoupleOne}

TemperatureHighRangeLimit Property

TemperatureLowRangeLimit Property

TemperatureSensorOne Class

TemperatureSensorOneValueAccordingToTheStateMachine Property

TemperatureThresholdHighLimit Property

ThawingTemperature Property {Console.IThermocouple}

ThawingTemperature Property {Console.TemperatureSensorOne}

ThawingTemperature Property {Console.ThermocoupleOne}

Thermocouple Property

ThermocoupleEventArgs Class

ThermocoupleEventArgs Constructor

ThermocoupleOne Class

ThermocoupleOne Constructor

ThermocoupleOneValueAccordingToTheStateMachine Property

ThermocoupleType Enumeration

TimeSpent Property

Type Property {Console.PressureTransducerEventArgs}

Type Property {Console.RegisterValuesEventArgs}

Type Property {Console.ThermocoupleEventArgs}

VacuumDisable Method

VacuumEnable Method

WakeUpWDT Method

WatchdogResetDisable Method

WatchdogResetEnable Method

WriteFromMicroController Method

bloodDetectorEvent Event

canTwoRegisterEvent Event

ecgEventArgs Event

flowMeterEvent Event

loadCellEvent Event

pressureSwitchEvent Event

pressureTransducerEvent Event

registerEvent Event

thermocoupleEvent Event